**q-RT PCR Protocol for WNV Surveillance Week 35 – 9.2.17**

1. Thaw 4x (per 96 well plate) 27x WNV q-RT PCR Master Mix on Ice.
2. Prepare standards by adding 45 uL of dilution solution (5% BSA in nf-H2O) to seven tubes of an 8-tube PCR strip. Retrieve one 1.00E+08 WNV standard from -80, thaw on ice, vortex and spin down thoroughly, and then make a tenfold dilution series from 1.00E+07 through 1.00E+01 by taking 5 uL from the standard (and so on) across the strip. Mix ~20 times with pipette between each transfer step. Hold standard dilutions on ice.
3. Add **13.5ul** of Reverse transcriptase to 27x master mix (per original mastermix recipe)
4. Place White well pcr plates on frozen plate rack.
5. Add 15ul of complete master mix per well (mix with pipette and add individually).
6. Add 5ul of RNA extract to wells (use multichannel pipettor).
7. Seal plate and run using WNV Probe template.

Note: This week I intend to use stocks of the original mastermix, prepped in a large batch at the beginning of the summer. (This mastermix recipe has given us high efficiency scores, but it will work okay as long as we are going for a yes/no and not qualitative data.)